## ReadMe
Trend & Seasonality Report: Method
Base series: raw 10-minute readings resampled to hourly means.
Trend: one linear regression fit per zone (value ~ hours since start). Kept simple so the
slope is a single interpretable number, shown at 3 zoom levels on the Trend sheet:
- Yearly view = daily means with the trend line, slope reported in kW/day
- Weekly view = weekly means with the trend line, slope reported in kW/week
- Daily view = raw hourly means with the trend line, slope reported in kW/hour
(All three are the same underlying trend line, just viewed at different time resolutions.)
Seasonality: detrended residual (hourly value minus fitted trend) averaged by:
- Month (Jan-Dec) -> yearly seasonality
- Day of week (Mon-Sun) -> weekly seasonality
- Hour of day (0-23) -> daily seasonality (24h profile)
Positive bars = above the long-term trend for that period; negative = below trend.
Files: reports/figures/trend/*.png and reports/figures/seasonality/*.png

## Trend
Trend Summary
Zone | Slope (kW/hour) | Slope (kW/day) | Slope (kW/week) | Net change over year (kW) | Net change (%)
Zone 1 | -0.0054 | -0.13 | -0.91 | -47 | -0.1
Zone 2 | 0.6707 | 16.1 | 112.69 | 5860 | 27.8
Zone 3 | -0.6143 | -14.74 | -103.2 | -5366 | -30.1
Yearly trend (daily means)
Weekly trend (weekly means)
Hourly-resolution trend

## Seasonality
Seasonality Summary (detrended)
Zone | Granularity | Peak bin | Peak value (kW dev) | Trough bin | Trough value (kW dev) | Amplitude (kW)
Zone 1 | Yearly (month) | Aug | 4096.1 | Nov | -3325.1 | 7421.2
Zone 1 | Weekly (day-of-week) | Wed | 526.8 | Sun | -1565.3 | 2092.1
Zone 1 | Daily (hour-of-day) | 20 | 11477.7 | 6 | -9141.4 | 20619.1
Zone 2 | Yearly (month) | Aug | 2881.3 | Apr | -2169 | 5050.3
Zone 2 | Weekly (day-of-week) | Thu | 786.6 | Sun | -2014.8 | 2801.4
Zone 2 | Daily (hour-of-day) | 20 | 7138.7 | 6 | -6104.1 | 13242.8
Zone 3 | Yearly (month) | Jul | 10572.5 | Dec | -4328.6 | 14901.1
Zone 3 | Weekly (day-of-week) | Sat | 220 | Fri | -259.9 | 480
Zone 3 | Daily (hour-of-day) | 20 | 8197.4 | 7 | -6170.3 | 14367.7
Yearly seasonality (by month, detrended)
Weekly seasonality (by day-of-week, detrended)
Daily seasonality (24h profile, detrended)